## Sheet1
Algal Toxin Results from Lake Erie - Pelee Island, Ontario, Canada
(July 2016 - Present)
Absent is defined as results below the Ontario Drinking Water Quality Standard (ODWQS) for microcystin-LR of 1.5 ug/L (ppb)
Licensed laboratories must test drinking water samples using a prescribed ELISA method which measures total microcystin in the sample.
If ELISA sample results are equal to or greather than 1.5 ug/L, it is indicative of the presence of microcystin (toxic and non-toxic) which needs further evaluation by another method.
The Ministry of the Environment Laboratory Services Branch is the only laboratory licensed to perform testing which confirms the presence of micorcystin-LR in drinking water samples.
Sample location | Licensed Laboratory | Sample Source | Date Sample Collected (mm/dd/yyyy) | Sample Type (raw or treated) | ELISA test (Present or Absent) | Total Microcystin (ug/L) - If Present
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | Sept 19/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | Sept 19/2016 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | Sept 19/2016 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | Sept 19/2016 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | September 12/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | September 12/2016 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | September 12/2016 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | September 12/2016 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | September 6/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | September 6/2016 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | September 6/2016 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | September 6/2016 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | August 15/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | August 15/2016 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | August 15/2016 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | August 15/2016 | Tap | Present | 2.6
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | August 8/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Lake | August 8/2017 | Lake | Absent | 0
WTP-Membrane Filter | Ontario MOE | Tap | August 8/2018 | Tap | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | August 8/2019 | Tap | Present | 0.35
WTP-Raw Infiltration Gallery | Ontario MOE | Lake | August 2/2016 | Lake | Absent | 0
WTP-Treated | Ontario MOE | Tap | August 2/2017 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | July 26/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | July 26/2017 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | July 26/2018 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | July 26/2019 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | July 11/2016 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Lake | July 11/2017 | Lake | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | July 11/2018 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Tap | July 11/2019 | Tap | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | July 4/2016 | Lake | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Tap | July 4/2017 | Tap | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Tap | July 4/2018 | Tap | Absent | 0
WTP-Treated | Ontario MOE | Lake | July 4/2019 | Lake | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | June 27/2016 | Raw | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Lake | June 27/2017 | Raw | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Lake | June 27/2018 | Raw | Absent | 0
WTP-Treated | Ontario MOE | Lake | June 27/2019 | Raw | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | June 20/2016 | Raw | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Lake | June 20/2017 | Raw | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Lake | June 20/2018 | Raw | Absent | 0
WTP-Treated | Ontario MOE | Lake | June 20/2019 | Raw | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | June 13/2016 | Raw | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Lake | June 13/2017 | Raw | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Lake | June 13/2018 | Raw | Absent | 0
WTP-Treated | Ontario MOE | Lake | June 13/2019 | Raw | Absent | 0
WTP-Membrane Filter | Ontario MOE | Lake | June 6/2016 | Raw | Absent | 0
WTP-Raw Dip Sample from Lake | Ontario MOE | Lake | June 6/2017 | Raw | Absent | 0
WTP-Raw Infiltration Gallery | Ontario MOE | Lake | June 6/2018 | Raw | Absent | 0
WTP-Treated | Ontario MOE | Lake | June 6/2019 | Raw | Absent | 0

## Sheet2
Present | Raw
Absent | Treated